Broad RNAi Analysis Tool:  RNAeyes

New user quick reference

Section 1: Overview

Welcome to RNAeyes.  This software, which runs from the command line on either PCs or Macs, will allow users to view and analyze screening data.

This tool can be used to examine infection efficiency, check the data quality of each plate, run plate replicate comparisons, observe the hairpin distribution throughout the plate or batch, and export raw or normalized data by well or hairpin.

Data model overview:

RNAeyes was developed to help screeners at the Broad visualize and analyze their experimental results. Therefore, some assumptions are made about aspects of the experimental protocol. Understanding some of these assumptions might help to make the operation of the RNAeyes more intuitive.

- A Screen is a set of experiments that are performed with the intent of addressing a focused set of biological questions. The screens are assumed to be RNAi-based experiments using either 96- or 384-wells plates containing human or mouse cells that are infected with viruses that induce the production of shRNA (“hairpins”) in the infected cells.

- Screens are assumed to be ‘arrayed’ (as opposed to ‘pooled’), in that a single hairpin is induced in each well. (Of course, there will be many thousands of copies of the hairpin in the well.)

- A Batch consists of a set of screening plates, generally all infected on the same day and grown under the same conditions. Batches provide a way to group plates and isolate effects that occur due to variability in lab conditions, batches of reagents, etc., which can affect a group of plates as a whole. Note that each batch name must be unique within a data set (data contained in a single input file).

- A Plate generally refers to a 96- or 384-well plate of cells that has been infected with shRNA-inducing viruses, one virus/hairpin per well. Wells of the plate are referenced by a single-letter row (A, B, …, P.) and a one- or two-digit column (1, 2, …, 24)

- Plates are assumed to have been infected from a virus source plate with a specific ‘plate-map’, with each well containing a specific virus. The same virus source plate is generally used to create multiple biological replicates of the same infection plate, each having the same virus plate map (e.g., all replicate plates infected from virus plate VP01 will have the same virus applied to well B10.)

- The viruses induce puromycin resistance in all infected cells. This assumption is the basis for the infection efficiency computations performed by RNAeyes. In order to measure the infection efficiency (IE), at least one of the biological replicates for a virus source plate must be treated with puromycin (puro+) and at least one replicate must be left untreated (puro-). If the same number of cells are ‘seeded’ into each well of each plate, the IE can be computed as the ratio of the number of cells that survive puromycin selection in a treated (puro+) well to the number of cells in the corresponding untreated (puro-) well, since only cells that are infected with the shRNA-inducing virus will survive the puromycin treatment.

- When a well is labeled ‘EMPTY’, this means that the well contains cells, but no virus was applied to the well. It is important to note that the wells are not actually empty, since they do contain cells, but that the cells are ‘empty’ of virus. EMPTY wells can be a convenient way to determine if a plate is correctly labeled as ‘puro+’ or ‘puro-‘ , since all the cells in EMPTY wells should be killed when puromycin is applied.

- ‘Control hairpins’ refers to hairpins that are designed to target genes that do not occur in the human or mouse genome, such as GFP, lacZ, luciferase, etc. (although these hairpins may cause an observable phenotype, due to off-target effects.)

- PGW refers to a special control virus that does not induce the production a hairpin, and only provides partial puromycin resistance. Since this virus tends to behave somewhat differently from other viruses, wells infected with PGW are analyzed separately in RNAeyes from control, valid hairpins, or EMPTY wells.

Section 2: Quick Start Guide

Once you have installed RNAeyes (Section 3) and have data files in the correct input format (Section 5), you can use RNAeyes to view the data and assess its quality as well as observe specific features of the data.  A typical work flow would be the following:

- Check infection efficiency for each plate to evaluate the overall effectiveness of the infection process and individual plate variations or potential problems.

- Assess the data quality of your overall experiment to ensure consistent results.

- Go through plate scoring to compare plate-level results, normalize using a variety of metrics and identify spatial effects that might influence results.

- Choose to save data from the well or hairpin levels as desired.

Section 3: Installation

- Installation requirements for RNAeyes

  - Check the default version of JAVA (Java version 1.5 or higher required, 1.6 preferable)

    - Access the C:\ Command Prompt on Windows or the Terminal on Macs

    - Enter: java -version (This will report the version of java the user has)

    - If you do not have version 1.5 or higher, then download the latest Java version from http://www.java.com/en/download and follow the instructions for installation for your operating system

    - NOTE: You must make the newly downloaded version of Java your default version or specify the java version when starting the program (see the java manual for details).

- Start RNAeyes by typing the following line in at the DOS prompt (or creating a MS-DOS batch file that executes the line, or doing the equivalent in your local operating system):

java –Xmx1000m –Xms100m –jar RNAeyes.jar –f

Note: In the line above, “-Xms100m” and “-XmX1000m” indicate to the Java VM to start with an allocation of at least 100Mb of virtual memory, and allow up to 1Gb (1,000Mb) of virtual memory to be allocated, respectively. These parameter settings will help to keep RNAeyes from running out of memory when large amounts of screening data are loaded.

Section 4: Running RNAeyes

- Upload your tab-separated file of data to be analyzed by clicking on the “Select assay datafile” button (See Section 5: Preparing Files for Input into RNAeyes for details on the format of the input files.)

- When the data file is finished loading, the Plate Scoring tab will be selected. Look at Infection Efficiency by clicking on the tab:

- This opens up the Infection Efficiency window with the information on the infection efficiency. (Note: This assumes that your data set contains plate replicates with and without puromycin applied and the assay method measures cell viability. If puromycin selected (puro+) plates are not included, no comparison to unselected (puro-) plates is possible, and no data will be displayed in the Infection Efficiency panel. If the assay method does not measure cell viability, information displayed in this panel will not be a true measurement of infection efficiency. In this case, entries in the “use for IE” column of the input file should be set to “no” to prevent data points from being incorrectly filtered out of the data set.)

The Infection Efficiency window displays a dot-plot and histogram of the infection efficiency (IE) for each well of all virus plates used for the screening data set. In addition, the user can remove poorly infected wells from the analysis by setting three rejection thresholds: IE max, IE min, and Low end cutoff.

The yellow areas in the Infection Efficiency dot-plot give a visual representation of the present threshold settings. All points within the yellow areas are removed from processing. The Low end cutoff allows any wells with values below the threshold to be included in the processing, regardless of their IE.

Furthermore, the Infection Efficiency Distribution displays a histogram of the distribution of infection efficiencies, broken down by the well type (valid hairpin, empty, control, or pgw).  The three buttons (red arrow in figure below) allow the user to select the view of the data as a Percent of...:

  - Total: the bars of the histogram show the distribution as a percent of all wells.

  - Type: the bars show the distribution as a percent of each well type. For example, the red bars show the distribution of the controls as a percent of the total number of control wells.

  - Non-empty: Since the empty wells tend to have very low infection efficiency, by choosing the Type display, the empty wells usually have a very high peak toward the low end of the histogram, which expands the y-axis and makes the bars for the other well types difficult to read. By choosing Non-empty, the empty wells are removed, which allows the other well types to be more easily seen.

Additional notes on the Infection Efficiency Window:

  - The table can be sorted by column by clicking the column headers. (Click on either Virus Plate / Batch / #puro+ / #puro- / hp% / empty %). Note: the last two columns indicate the percentage of the wells of the particular type that would be rejected using the currently selected thresholds. That is,

- hp % =  percentage of valid hairpins (not EMPTY, control or PGW) on this virus plate (for this screen and this batch) rejected by the thresholds

- empty % = percentage of empty wells rejected by the thresholds

  - The infection efficiency for each well can be examined one plate at a time, for a subset of the plates, or all plates simultaneously. When one of the virus plates is selected, the dots on the dotplot for all plates not corresponding to that virus plate are dimmed to allow the user to see the selected plate points in the context of all other plates. Multiple plates can be selected using the Ctrl or Shift key as with other Windows-based applications. To restore the view to show all plates, select "Examine all plates."

  - The Axis autoscale off (on) button allows the user to select whether or not the axis is scaled to the highest value over the entire set of plates (off), or to the highest value over only the selected set of plates. This is useful when, for example, several different cell lines are being examined simultaneously and one cell line results in a very small number of cells and another has a cell count an order of magnitude higher. With autoscale off, the axes will be scaled to the higher cell number, causing all wells from the other cell line to be clustered near 0 on the plot. By selecting the virus plate with the lower cell count and selecting autoscale on, the scale will be expanded to make the small cell counts more visible. To remind the user or the present setting of this control, the button is green when autoscaling is off and red when it is on.

  - ‘Wells outside threshold limits’ (circled in blue on the previous figure) displays statistics indicating the number and percentage of wells of each type that will be rejected using the presently selected thresholds, along with the total number of wells of that type across the entire screening set for the selected virus plates. For example, if all of the virus plates are selected (either by default, or by clicking the ‘Examine all plates’ button), the ‘control:’ row of the box will display the number of control wells rejected using thresholds, the total number of control wells in the data set, and the percentage of control wells rejected by applying the thresholds. Note that EMPTY wells are actually always removed from the analysis. This display simply gives an indication of how many of the EMPTY wells would be removed by applying the selected thresholds. If the thresholds need to be set unusually high to remove all of the EMPTY wells, it might be an indication of a problem with the plates.

Data Quality Window

To enter the Data Quality Window, click on the tab at the top of the panel.

When you are in the Data Quality window, you will see two panels.  The upper panel displays information about the Raw Data for raw plate scores (unnormalized) and the lower panel, Score, gives information about plate scores (z-score, b-score, etc.) in a `box-and-whisker' format. In this format, each bar represents the distribution of data for one plate.

The chart indicates the following data items:

    - The mean value is drawn as a filled circle; the median is drawn as a short horizontal line;

    - The box highlights the range from quartile 1 to quartile 3;

    - The capped line extending from each end of the box indicates the full range of regular values;

    - Hollow circles are used to indicate outlier values;

    - Triangles at each extreme indicate the presence of far out values.

These plots can be used to assess the overall quality of the data.  Green bars indicate unselected (puro-) plates and red/pink bars indicate selected (puro+) plates. As an example of how these displays can be used to assess the data quality, plate IP12+2 (the 10th bar from the left in the Batch1 raw data chart) and plate IP04+2 (the 10th bar from the left in the Batch2 raw data chart) both appear to have significantly different distributions from all of the other plates in their respective groups. Further analysis of these plates might indicate that they should be removed from the plate set.

Plate Scoring Window

This window is designed to enable plate-by-plate review of results and to identify any potential errors or issues with individual plates that may impact the overall analysis of the data.  Enter the Plate Scoring window from the tab at the top of the panel.

/ =  Empty Well		/ = Control Well		/   = Sample Well

Raw Data = unprocessed data values directly from plate reader (e.g., EnVision /Celomics).

Scores = data values calculated using the scoring method (selected from the “Scoring Method” panel on the right side of the window2).

Navigation within the Plate Scoring window:

Step 1: Plate Subset Selection

Choose the desired plates to be analyzed:

- only selection +: 	puromycin positive (puro+) plates

- only selection –:	puromycin negative (puro-) plates

- all plates:		all plates

Assay features can also be selected:

- Features listed will correspond to the column headers (and ‘dataFields’ entry) in the input file. The initial selected feature will correspond to the ‘defaultField’ specified in the input file. When a different feature is selected, the chosen normalization method will be applied to this new feature. The selected feature will be highlighted in red until the calculation is complete. (Note: this may take up to a minute with large plate sets.)

Step 2: Scoring Method

Select the statistical analysis method to be applied to the plate set.

The choices are:

    - Infection efficiency:if cell number type data has been loaded with comparable puromycin (+) and (-) replicates, this is calculated as puro (+)/ puro (-)

    - b-score: normalization method to accommodate edge effects or other assay effects.

    - z-score:	x -  , where x also includes empty and control wells.

2

    - robust z-score:	x – median	in which MAD, Median Absolute Deviation

MAD	is essentially the median equivalent of 2

    - raw score:	unprocessed data directly from the plate reader.

NOTE:  The z- or b-score analysis is applied to all wells. However, the analysis parameters (e.g. plate mean, standard deviation, etc.) are computed excluding empty wells, pgw wells, and wells with infection efficiency outside of the range of the thresholds set on the Infection Efficiency tab.

Step 3: Assess Individual Plate and Well Features

Hovering over a well will display: well location, gene symbol, gene description, and score.  Plates can be excluded from analysis by highlighting on the plate of interest in the list located at the top of the window and hitting the Delete key. The excluded plate(s) will show up highlighted in pink. To include these plates again, simply select the plate and hit Delete again.

Step 4: Scoring Granularity

There are different levels of analysis possible.  An entire plate or a quadrant of a plate can be analyzed:

  - Plate-based: the entire plate is computed together (whether 96 or 384 well format)

  - Quadrant-based: the program takes each of the ‘interleaved’ quadrants of the 384 well plate and analyzes it as a separate 96-well plate, then merges the analysis results back into a 384 well plate. The 4 ‘interleaved’ quadrants are defined as follows:

- Q1: wells A01, A03, …, A23, C01, C03, etc.

- Q2: wells A02, A04, …, A24, C02, C04, etc.

- Q3: wells B01, B03, …, B23,  D01, D03, etc.

- Q4: wells B02, B04, …, B24, D02, D04, etc.

This is used to compensate for effects that might occur due to discrepancies between the four 96-well source plates used to create the 384-well virus plate used for infection.

Step 5: Use of Control Wells

Users have a choice of how to use the control wells in the normalization method.

There are three options:

  - Treat as hairpins:  control wells and ‘valid’ hairpin wells (i.e., wells that are neither EMPTY nor pgw wells) are used in normalization.

  - Use only for normalization:  only control wells are used in the mean and variance (median and MAD) statistics for the z-score (robust z-score).

  - Remove from analysis:  control wells are not used in statistics computations.

Note: If the selected plate doesn’t contain any control wells, only treat as hairpins will be selectable.

Saving Analysis Results

There are methods that can be used to save analyzed data (marked by arrows in the figure below):

    - Well Level

    - Hairpin Level

    - RIGER format

- Save Well-level Results – Saves information for every well of every plate, except those plates that are de-selected using the Delete key.

Note: In the output file, the last column indicates the type of well as follows:

-2 for PGW

-1 for Controls

0 for empty

1 for valid hairpins

- Save Hairpin-level Results – Saves all hairpin information, averaging the results for replicates of the same hairpin. When saving hairpin-level data, there are two additional controls that determine how multiple hairpin observations should be combined:

  - Selection (puro) Grouping:

- combine puro+/puro-: hairpins will be combined, regardless of puro selection status

- separate puro+/puro-:  puro+ and puro- observations are averaged separately (default)

  - Batch grouping:

- combine batches: if the same hairpin is assayed in multiple batches, the observations will all be averaged together

- keep separate: observations of the same hairpin in different batches are treated separately (default)

- Save RIGER data: Save data for use in the GENE-E (formerly RIGER) analysis software, available at http://sourceforge.net/projects/gene-e/. This software provides a combining multiple hairpin-level scores to estimate a gene-level score.

Section 5: Preparing Files for Input into RNAeyes

General:

- The required file format is tab-delimited.

- All lines beginning with the ‘#’ character will be treated as comments

- Blank lines are ignored (i.e. treated as comment lines)

- Only one file may be loaded at a time. Multiple data sets may be added at the same time by simply concatenating input files into a single file, then loading the concatenated file.

Overview:

Using properly formatted flat files, screening data may be loaded into RNAeyes for visualization. The format of this file allows data to be grouped by screen (with multiple batches of plates in each screen) and batch (with multiple plates in each batch). In addition, various plate-level attributes may be specified (e.g., the type of selection applied to each plate, the selection status of each plate, the virus plate used for infection, etc.), as well as well-level information (row, column, hairpin ID, etc.). Some of the well- and plate-level information is required by RNAeyes, and some is provided as a convenience for the user.

Data block header:

Each block of assay data (which may include data for one or many plates) must begin with a header line indicating the contents of each column following the header until the next header line (if there is one) is encountered. The header line must have all of the following fields, and they must be placed in the specified order. In the data block following the header, columns may optionally be left blank as indicated below:

| Column | Header | Description | Data in block |
| --- | --- | --- | --- |
| 1 | screen name | Name given to this set of batches of plates | required |
| 2 | batch name | Name given to this batch of plates | required |
| 3 | plate name | Individual plate name (must be unique within a batch of plates) | required |
| 4 | selection | Type of selection used (usually puromycin) | optional |
| 5 | sel. status | Whether selection was applied to this plate (‘yes’ or ‘no’, case insensitive) | required |
| 6 | use for IE | Whether this plate should be used for computing infection efficiency (‘yes’ or ‘no’, case insensitive). | required (See Infection Efficiency Computation below) |
| 7 | condition | Additional plate information used for sub-grouping of plates within a batch. For example, ‘hypoxic’, ‘doxycycline applied’, etc. | optional |
| 8 | row | The well’s row coordinate (A,B,C,…P) | required |
| 9 | col | The well’s column coordinate (1-24) | required |
| 10,…,n | assay parameter names | Assay parameter names, as specified in the ‘dataFields’ line above. | required |
| n+1 | virus plate ID | An identifier for the virus plate used for infection. The virus plate ID should be the same for all plates infected from the same virus plate. | required, but no specific format |
| n+2 | cloneID | The clone/virus identifier for the virus used to infect this well. Used for grouping multiple observations of the same hairpin from multiple biological replicates. | required, but no specific format |
| n+3 | hairpin description | The name/description of the hairpin used to infect this well. | optional |
| n+4 | geneID | An ID for the gene targeted by this hairpin | optional |
| n+5 | symbol | The gene symbol of the gene targeted by this hairpin | optional |
| n+6 | preferred name | A longer description of the gene | optional |
| n+7 | taxon ID | Taxonomic identification of the targeted gene (mouse, human, 9606, 10090, etc.) | optional |
| n+8 | type | Hairpin type: - 1=valid hairpin - 0=EMPTY (i.e. no virus applied to this well) - -1=control (GFP, lacZ, etc.) - -2=PGW | required |

Infection Efficiency Computation:

The infection efficiency (IE) is computed for a hairpin as the ratio of puro+ to puro-. The assay feature selected by the ‘defaultField’ will be used for this computation. If multiple biological replicates are performed, the median of the assayed values is used. For an assay to be considered a biological replicate (for purposes of computing the IE), the assays must have the same screen name, batch name, and condition, as well as the same row, column, virus plate ID, and cloneID. In addition, the ‘use for IE’ flag for the well must be set to ‘yes’ for all the wells in that plate. If there is not at least one puro+ and one puro- assay for a plate, no IE can be computed.

Note: Only cell viability assays will result in valid IE calculations. If the assay does not measure cell viability, the ‘use for IE’ flag should be set to ‘no’. If the assay provides multiple measurements per well (i.e. multiple assay feature columns in the data block), only some of which measure cell viability, be sure that first parameter column contains the feature that measures the cell viability.

Input file construction:

First, create a tab-delimited file with the header line as described above, followed by rows of data containing the first nine fields described above, followed by the assay data (one row per well of screening data), followed by the virus plate ID and the clone ID of the hairpin used in that well.

The right-most 6 columns of the input file may be filled in using the Microsoft Excel vlookup function, using the cloneID as the key into a file containing rows from the cloneIdLookup.tab, which can be downloaded from the TRC website in the same directory as this file.

Note: The cloneIdLookup.tab file has over 250,000 lines, therefore the whole file can not be loaded into most versions of Microsoft Excel. The best way to make use of this file is to extract only the lines corresponding to clone IDs that you have used in your screens. (This can be done using the Unix grep function for each required clone ID, appending the row for each clone ID into a smaller clone ID file.)

The Excel VLOOKUP function:

For a detailed description of how to use the Excel vlookup function, please refer to the Microsoft Excel Help documentation. An example of how to use vlookup is included in the file vlookupTest.xls. (First, open the file cloneIdSubset.tab in Excel, then open vlookupTest.xls.) Select cell N2 in vlookupTest.xls. This cell contains the formula:

=VLOOKUP($N2, cloneIdSubset.tab!$A:$G, 2, FALSE)

The formula uses the cloneID ($N2) as a key to locate a row containing that key in the cloneIdSubset.tab file, columns A through G (cloneIdSubset.tab!$A:$G). When it finds a row containing the cloneID, it copies the contents of the 2nd cell of the row (2) into this cell. If an exact match is not found, #N/A will be entered into this cell (FALSE).

JFreeChart documentation, Chapter 35. Package: Org.Jfree.Chart.Renderer.Category

Malo, et al. Nature Biotechnology, V24, Feb 2006, p168